HRC fuse TIS Dimenssion:

| Item | Rated | Rated |  |  |  | Dimension(mm) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | voltage | current |  |  |  |  |  |  |  |  |
|  |  |  | A | B | C | ΦD | E | F | H | Фd |
| TIS | 550V | 40-100A | 56 | 75 | 87 | 21 | 13 | 1.0 | 24 | 5 |